TSX FPC10 AND TSXPCX57 DRIVER INSTALLATION FOR WINDOWS2000

To install TSXFPC10 and TSXPCX57 drivers on windows2000, you have to do the following instructions:

At the end of the setup the following dialog box appears:

Click on  <Next> to continue the installation. The following dialog box appears :

Select <Add/Troubleshoot a device>, after  click on <Next> to continue the installation.

After few minutes, the following dialog box appears :

Select  in the list box <Add a new device>, after click on <Next> to continue the installation. The following dialog box appears :

TSXFPC10 and TSXPCX57 cards are not Plug’n Play, So you have to select the ligne « No, I want to select hardware from a list » and after  click on <Next>. The following dialog box appears :

Select in  list box :

- « FPC10Device » for FIP FPC10 driver,

- « PCX57Device » for Isaway PCX57 driver,

After, click on « Next ». The following dialog box appears :

The name of the device appears in the list box, there are :

FPC10 WDM Device   for TSX FPC10 driver,

PCX57 WDM Device   for TSXPCX57 driver.

Click on « Next » to continue the installation, The following dialog box appears:

You have to configure hardware parameters for the device. You have to configure  I/O adresses and  IRQ number.

To modify I/O adress you have to unselect « Use automatic settings », and after select in the list box "resource settings "« Input/Output Range », and  click on  « Change Setting... », the following message box appears :

Select  one value without conflict. After click on « OK ». You have to do the same thing to choose the IRQ number

At the end of the installation the following dialog box appears :

Click  on « Finish », turn off the PC, adjust on TSXFPC10 or TSXPCX57 card the hardware parameters (I/O adress and IRQ Number) with the values given by the system, plug the  card on the PC and turn on the PC.